## Report
Report
B/S/F/R | Source Plate ID | Source Position | Plate ID | Plate Position | Row | Column | Sample name | Sample group | Pump | Analyte | Buffer | Concentration (mg/ml) | Intercept | Z-Avg Dia. (nm) | PdI | SD Dia. (nm) | Diffusion coefficient (um^2/s) | Rayleigh ratio R (1/km) | PkOI Intensity Mean Dia. (nm) | PkOI Intensity Area (%) | PkOI Rayleigh ratio R (1/km) | PkOI Mass Mean Dia. (nm) | PkOI Mass Area (%) | PkOI Est. MW (kDa) | Number of Peaks | Pk1 Intensity Mean Dia. (nm) | Pk1 Intensity Area (%) | Pk1 Rayleigh ratio R (1/km) | Pk1 Mass Mean Dia. (nm) | Pk1 Mass Area (%) | Pk1 Est. MW (kDa) | Pk2 Intensity Mean Dia. (nm) | Pk2 Intensity Area (%) | Pk2 Rayleigh ratio R (1/km) | Pk2 Mass Mean Dia. (nm) | Pk2 Mass Area (%) | Pk2 Est. MW (kDa) | Pk3 Intensity Mean Dia. (nm) | Pk3 Intensity Area (%) | Pk3 Rayleigh ratio R (1/km) | Pk3 Mass Mean Dia. (nm) | Pk3 Mass Area (%) | Pk3 Est. MW (kDa) | Optical contrast constant K (m^2 mol kg^-2) | Temperature (°C) | Viscosity at T (cP) | RI at T | Viscosity at 25°C (cP) | RI at 25°C | Number of angles | Angles measured (°) | Number of acquisitions (total) | Number of acquisitions used (total) | Acquisition time (s) | Acquisition filtering | E1% | A280 | A260/A280 | Background (A280) | Pk4 Intensity Mean Dia. (nm) | Pk4 Mass Mean Dia. (nm) | Pk4 Rayleigh ratio R (1/km) | Pk4 Intensity Area (%) | Pk4 Mass Area (%) | Pk4 Est. MW (kDa) | Application | Plate type | Path length mode | Date | Time | Instrument ID
B |  |  | Plate 1 | A1 | A | 1 | Sample1 | Group 1 | 0 | [44 empty] | 4 |  |  | 0 |  | 0 | [6 empty] | Protein + Sizing | Stunner Plate | dual | 01/01/2025 | 12:00:00 | 100001
S |  |  | Plate 1 | C1 | C | 1 | Sample2 | Group 1 | 0 | generic protein | PBS | 0.17 | 0.025 | 242.6 | 0.36 | 146.2 | 1.925 | 0.258 | [6 empty] | 0 | [18 empty] | 2.104e-05 | 31.74 | 0.759 | 1.334 | 0.92 | 1.334 | 1 | 142 | 5 | 5 | 4 | automatic | 10 | 0.17 | 8.23 | 0 | [6 empty] | Protein + Sizing | Stunner Plate | dual | 01/01/2025 | 12:00:00 | 100001
S |  |  | Plate 1 | D1 | D | 1 | Sample3 | Group 2 | 0 | generic protein | PBS | 0.15 | 0.068 | 438 | 0.32 | 246.5 | 1.066 | 0.281 | 535.8 | 100 | 0.281 | 522.8 | 100 | 2130000 | 1 | 535.8 | 100 | 0.281 | 522.8 | 100 | 2130000 | [12 empty] | 2.104e-05 | 31.75 | 0.759 | 1.334 | 0.92 | 1.334 | 1 | 142 | 5 | 4 | 4 | automatic | 10 | 0.15 | 9.26 | 0 | [6 empty] | Protein + Sizing | Stunner Plate | dual | 01/01/2025 | 12:00:00 | 100001
S |  |  | Plate 1 | A3 | A | 3 | Sample4 | Group 2 | 0 | generic protein | PBS | 0.86 | 0.798 | 132.6 | 0.3 | 73.2 | 3.52 | 2.3 | 22 | 7 | 0.16 | 20.7 | 93.4 | 778 | 2 | 22 | 7 | 0.16 | 20.7 | 93.4 | 778 | 182.2 | 93 | 2.14 | 177.8 | 6.6 | 151000 | [6 empty] | 2.104e-05 | 31.75 | 0.759 | 1.334 | 0.92 | 1.334 | 1 | 142 | 5 | 5 | 4 | automatic | 5.12 | 0.44 | 0.71 | 0 | [6 empty] | Protein + Sizing | Stunner Plate | dual | 01/01/2025 | 12:00:00 | 100001