## Report
Report
Info
Date | 15/01/2026 09:30:00
Test performed by | scientist1
Instrument | 5678
Software version | 9.1.0.100
Client version | 9.1.1.200
Experiment name | DLS_experiment
Application | B22 & kD (9.1.0.1)
Blanks | Sample group 'buffer': On Plate/Chip: blank_A1
Sample group 'mAb1': None (autoblank)
Plate type | Stunner Plate
Nr of Plates | 1
- Plate 1
Table
Plate ID | Plate Position | Sample name | Sample group | Pump | Analyte | Buffer | Concentration (mg/ml) | Number of Peaks | Z-Avg Dia. (nm) | PdI | SD Dia. (nm) | Diffusion coefficient (um^2/s) | PkOI Intensity Mean Dia. (nm) | PkOI Intensity Area (%) | PkOI Rayleigh ratio R (1/km) | PkOI Mass Mean Dia. (nm) | PkOI Mass Area (%) | PkOI Est. MW (kDa) | Pk1 Intensity Mean Dia. (nm) | Pk1 Intensity Area (%) | Pk1 Rayleigh ratio R (1/km) | Pk1 Mass Mean Dia. (nm) | Pk1 Mass Area (%) | Pk1 Est. MW (kDa) | Pk2 Intensity Mean Dia. (nm) | Pk2 Intensity Area (%) | Pk2 Rayleigh ratio R (1/km) | Pk2 Mass Mean Dia. (nm) | Pk2 Mass Area (%) | Pk2 Est. MW (kDa) | Pk3 Intensity Mean Dia. (nm) | Pk3 Intensity Area (%) | Pk3 Rayleigh ratio R (1/km) | Pk3 Mass Mean Dia. (nm) | Pk3 Mass Area (%) | Pk3 Est. MW (kDa) | Derived intensity (cps) | Rayleigh ratio R (cm^-1) | Optical contrast constant K (m^2 mol kg^-2) | kD (ml/g) | B22 (ml.mol/g^2) | Diameter @ C=0 (nm) | Molecular weight (kDa) | kD linear fit | kD goodness of fit | B22 linear fit | B22 goodness of fit | Temperature (°C) | Viscosity at T (cP) | RI at T | Viscosity at 20°C (cP) | RI at 20°C | E1% | A280 | Background (A280) | Acquisition time (s) | Number of acquisitions | Number of acquisitions used | Acquisition filtering | KC/R (mol/g) | Plate type
Plate 1 | A1 | blank_A1 | buffer | 0 | N/A | Tris | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | y = NaNx + NaN | N/A | y = NaNx + NaN | N/A | 25.1 | 0.89 | 1.334 | 1.002 | 1.334 | 13.7 | N/A | 0 | 5 | 4 | N/A | automatic | N/A | Stunner Plate
Plate 1 | B1 | sample_B1 | mAb1 | 0 | 1 | Tris | 5.12 | 1 | 12.5 | 0.08 | 3.21 | 34.28 | 12.5 | 100 | 0.000312 | 12.1 | 100 | 195 | 12.5 | 100 | 0.000312 | 12.1 | 100 | 195 | [12 empty] | 8500000 | 0.000245 | 1.98e-05 | -5.2 | -0.000105 | 11.8 | 150 | y = -0.052x + 11.8 | 0.98 | y = -1.05e-04x + 11.8 | 0.97 | 25.1 | 0.89 | 1.334 | 1.002 | 1.334 | 13.7 | 7.02 | 0 | 5 | 4 | 3 | automatic | 7.82e-06 | Stunner Plate
Plate 1 | C1 | sample_C1 | mAb1 | 0 | 2 | Tris | 10.05 | 2 | 18.7 | 0.15 | 7.82 | 22.91 | 13.2 | 82.5 | 0.000289 | 12.8 | 98.7 | 210 | 13.2 | 82.5 | 0.000289 | 12.8 | 98.7 | 210 | 450.3 | 17.5 | 4.5e-05 | 420.1 | 1.3 | 1850000 | [6 empty] | 12000000 | 0.000341 | 2.1e-05 | -3.8 | -8.2e-05 | 12.1 | 150 | y = -0.038x + 12.1 | 0.95 | y = -8.2e-05x + 12.1 | 0.93 | 25.1 | 0.89 | 1.334 | 1.002 | 1.334 | 13.7 | 13.77 | 0 | 5 | 4 | 4 | automatic | 6.16e-06 | Stunner Plate
Plate 1 | D1 | sample_D1 | mAb1 | 0 | 3 | Tris | 15.2 | 3 | 25.4 | 0.22 | 12.1 | 16.87 | 14.1 | 65 | 0.000198 | 13.5 | 92.1 | 225 | 14.1 | 65 | 0.000198 | 13.5 | 92.1 | 225 | 120.5 | 25 | 7.8e-05 | 115.2 | 6.5 | 520000 | 890.2 | 10 | 1.2e-05 | 850 | 1.4 | 8500000 | 15000000 | 0.000425 | 2.2e-05 | N/A | N/A | N/A | 150 | y = NaNx + NaN | N/A | y = NaNx + NaN | N/A | 25.1 | 0.89 | 1.334 | 1.002 | 1.334 | 13.7 | 20.83 | 0 | 5 | 4 | 4 | automatic | 5.18e-06 | Stunner Plate