## QubitData_03-11-2023_10-38-19
Run ID | Test Date | Assay Name | Sample Name | Original Sample Conc. | Original sample conc. units | Qubit Tube Conc. | Qubit tube conc. units | Sample Volume (uL) | Dilution Factor | Extended Low Range | Core Range | Extended High Range | Excitation | Std 1 RFU | Std 2 RFU | Std 3 RFU | Sample RFU | Last Read Standards | Reagent Lot# | Plate Barcode | Well | Sample ID | Tags
031123-101734 | 2023-03-11 10:18 | 1X dsDNA HS | S1 | 8.09 | ng/uL | 80.9 | ng/mL | 2 | 100 | 0.05-0.1 | 0.1-50.0 | 50.0-60.0 | BLUE | 1.7612 | 968.2434 |  | 156 | 2023-02-11 10:48
031123-101734 | 2023-03-11 10:18 | 1X dsDNA HS | S2 | 8.15 | ng/uL | 81.5 | ng/mL | 2 | 100 | 0.05-0.1 | 0.1-50.0 | 50.0-60.0 | BLUE | 1.8326 | 1011.2421 |  | 164 | 2023-02-11 10:48
031123-101734 | 2023-03-11 10:18 | 1X dsDNA HS | S3 | 8.1 | ng/uL | 81 | ng/mL | 2 | 100 | 0.05-0.1 | 0.1-50.0 | 50.0-60.0 | BLUE | 1.785 | 967.1488 |  | 156 | 2023-02-11 10:48
031123-101734 | 2023-03-11 10:18 | 1X dsDNA HS | S4 | 8.27 | ng/uL | 82.7 | ng/mL | 2 | 100 | 0.05-0.1 | 0.1-50.0 | 50.0-60.0 | BLUE | 1.8088 | 982.616 |  | 162 | 2023-02-11 10:48
031123-101734 | 2023-03-11 10:18 | 1X dsDNA HS | S5 | 7.85 | ng/uL | 78.5 | ng/mL | 2 | 100 | 0.05-0.1 | 0.1-50.0 | 50.0-60.0 | BLUE | 1.7612 | 957.9399 |  | 150 | 2023-02-11 10:48
031123-101734 | 2023-03-11 10:18 | 1X dsDNA HS | S6 | 7.75 | ng/uL | 77.5 | ng/mL | 2 | 100 | 0.05-0.1 | 0.1-50.0 | 50.0-60.0 | BLUE | 1.666 | 855.3571 |  | 132 | 2023-02-11 10:48
031123-101734 | 2023-03-11 10:18 | 1X dsDNA HS | S7 | 7.71 | ng/uL | 77.1 | ng/mL | 2 | 100 | 0.05-0.1 | 0.1-50.0 | 50.0-60.0 | BLUE | 1.4756 | 814.5476 |  | 125 | 2023-02-11 10:48
031123-101734 | 2023-03-11 10:18 | 1X dsDNA HS | S8 | 7.17 | ng/uL | 71.7 | ng/mL | 2 | 100 | 0.05-0.1 | 0.1-50.0 | 50.0-60.0 | BLUE | 1.4994 | 790.633 |  | 113 | 2023-02-11 10:48
031123-101734 | 2023-03-11 10:18 | 1X dsDNA HS | S9 | 6.93 | ng/uL | 69.3 | ng/mL | 2 | 100 | 0.05-0.1 | 0.1-50.0 | 50.0-60.0 | BLUE | 1.7612 | 968.2434 |  | 134 | 2023-02-11 10:48
031123-101734 | 2023-03-11 10:18 | 1X dsDNA HS | S10 | 6.91 | ng/uL | 69.1 | ng/mL | 2 | 100 | 0.05-0.1 | 0.1-50.0 | 50.0-60.0 | BLUE | 1.8326 | 1011.2421 |  | 139 | 2023-02-11 10:48
031123-101734 | 2023-03-11 10:18 | 1X dsDNA HS | S11 | 7.02 | ng/uL | 70.2 | ng/mL | 2 | 100 | 0.05-0.1 | 0.1-50.0 | 50.0-60.0 | BLUE | 1.785 | 967.1488 |  | 135 | 2023-02-11 10:48
031123-101734 | 2023-03-11 10:18 | 1X dsDNA HS | S12 | 7.04 | ng/uL | 70.4 | ng/mL | 2 | 100 | 0.05-0.1 | 0.1-50.0 | 50.0-60.0 | BLUE | 1.8088 | 982.616 |  | 138 | 2023-02-11 10:48
031123-101734 | 2023-03-11 10:18 | 1X dsDNA HS | S13 | 7.01 | ng/uL | 70.1 | ng/mL | 2 | 100 | 0.05-0.1 | 0.1-50.0 | 50.0-60.0 | BLUE | 1.7612 | 957.9399 |  | 134 | 2023-02-11 10:48
031123-101734 | 2023-03-11 10:18 | 1X dsDNA HS | S14 | 7.28 | ng/uL | 72.8 | ng/mL | 2 | 100 | 0.05-0.1 | 0.1-50.0 | 50.0-60.0 | BLUE | 1.666 | 855.3571 |  | 124 | 2023-02-11 10:48
031123-101734 | 2023-03-11 10:18 | 1X dsDNA HS | S15 | 7.16 | ng/uL | 71.6 | ng/mL | 2 | 100 | 0.05-0.1 | 0.1-50.0 | 50.0-60.0 | BLUE | 1.4756 | 814.5476 |  | 116 | 2023-02-11 10:48
031123-101734 | 2023-03-11 10:18 | 1X dsDNA HS | S16 | 7.03 | ng/uL | 70.3 | ng/mL | 2 | 100 | 0.05-0.1 | 0.1-50.0 | 50.0-60.0 | BLUE | 1.4994 | 790.633 |  | 111 | 2023-02-11 10:48
031123-101734 | 2023-03-11 10:18 | 1X dsDNA HS | S17 | 7.47 | ng/uL | 74.7 | ng/mL | 2 | 100 | 0.05-0.1 | 0.1-50.0 | 50.0-60.0 | BLUE | 1.7612 | 968.2434 |  | 144 | 2023-02-11 10:48
031123-101734 | 2023-03-11 10:18 | 1X dsDNA HS | S18 | 7.19 | ng/uL | 71.9 | ng/mL | 2 | 100 | 0.05-0.1 | 0.1-50.0 | 50.0-60.0 | BLUE | 1.8326 | 1011.2421 |  | 145 | 2023-02-11 10:48
031123-101734 | 2023-03-11 10:18 | 1X dsDNA HS | S19 | 7.35 | ng/uL | 73.5 | ng/mL | 2 | 100 | 0.05-0.1 | 0.1-50.0 | 50.0-60.0 | BLUE | 1.785 | 967.1488 |  | 142 | 2023-02-11 10:48
031123-101734 | 2023-03-11 10:18 | 1X dsDNA HS | S20 | 7.36 | ng/uL | 73.6 | ng/mL | 2 | 100 | 0.05-0.1 | 0.1-50.0 | 50.0-60.0 | BLUE | 1.8088 | 982.616 |  | 144 | 2023-02-11 10:48
031123-101734 | 2023-03-11 10:18 | 1X dsDNA HS | S21 | 6.95 | ng/uL | 69.5 | ng/mL | 2 | 100 | 0.05-0.1 | 0.1-50.0 | 50.0-60.0 | BLUE | 1.7612 | 957.9399 |  | 133 | 2023-02-11 10:48
031123-101734 | 2023-03-11 10:18 | 1X dsDNA HS | S22 | 7.06 | ng/uL | 70.6 | ng/mL | 2 | 100 | 0.05-0.1 | 0.1-50.0 | 50.0-60.0 | BLUE | 1.666 | 855.3571 |  | 120 | 2023-02-11 10:48
031123-101734 | 2023-03-11 10:18 | 1X dsDNA HS | S23 | 6.94 | ng/uL | 69.4 | ng/mL | 2 | 100 | 0.05-0.1 | 0.1-50.0 | 50.0-60.0 | BLUE | 1.4756 | 814.5476 |  | 113 | 2023-02-11 10:48
031123-101734 | 2023-03-11 10:18 | 1X dsDNA HS | S24 | 7.01 | ng/uL | 70.1 | ng/mL | 2 | 100 | 0.05-0.1 | 0.1-50.0 | 50.0-60.0 | BLUE | 1.4994 | 790.633 |  | 110 | 2023-02-11 10:48
031123-101734 | 2023-03-11 10:18 | 1X dsDNA HS | S25 | 6.63 | ng/uL | 66.3 | ng/mL | 2 | 100 | 0.05-0.1 | 0.1-50.0 | 50.0-60.0 | BLUE | 1.7612 | 968.2434 |  | 128 | 2023-02-11 10:48
031123-101734 | 2023-03-11 10:18 | 1X dsDNA HS | S26 | 6.47 | ng/uL | 64.7 | ng/mL | 2 | 100 | 0.05-0.1 | 0.1-50.0 | 50.0-60.0 | BLUE | 1.8326 | 1011.2421 |  | 130 | 2023-02-11 10:48
031123-101734 | 2023-03-11 10:18 | 1X dsDNA HS | S27 | 6.48 | ng/uL | 64.8 | ng/mL | 2 | 100 | 0.05-0.1 | 0.1-50.0 | 50.0-60.0 | BLUE | 1.785 | 967.1488 |  | 125 | 2023-02-11 10:48
031123-101734 | 2023-03-11 10:18 | 1X dsDNA HS | S28 | 6.49 | ng/uL | 64.9 | ng/mL | 2 | 100 | 0.05-0.1 | 0.1-50.0 | 50.0-60.0 | BLUE | 1.8088 | 982.616 |  | 127 | 2023-02-11 10:48
031123-101734 | 2023-03-11 10:18 | 1X dsDNA HS | S29 | 6.45 | ng/uL | 64.5 | ng/mL | 2 | 100 | 0.05-0.1 | 0.1-50.0 | 50.0-60.0 | BLUE | 1.7612 | 957.9399 |  | 123 | 2023-02-11 10:48
031123-101734 | 2023-03-11 10:18 | 1X dsDNA HS | S30 | 6.53 | ng/uL | 65.3 | ng/mL | 2 | 100 | 0.05-0.1 | 0.1-50.0 | 50.0-60.0 | BLUE | 1.666 | 855.3571 |  | 111 | 2023-02-11 10:48
031123-101734 | 2023-03-11 10:18 | 1X dsDNA HS | S31 | 6.56 | ng/uL | 65.6 | ng/mL | 2 | 100 | 0.05-0.1 | 0.1-50.0 | 50.0-60.0 | BLUE | 1.4756 | 814.5476 |  | 106 | 2023-02-11 10:48
031123-101734 | 2023-03-11 10:18 | 1X dsDNA HS | S32 | 6.59 | ng/uL | 65.9 | ng/mL | 2 | 100 | 0.05-0.1 | 0.1-50.0 | 50.0-60.0 | BLUE | 1.4994 | 790.633 |  | 104 | 2023-02-11 10:48
031123-101734 | 2023-03-11 10:18 | 1X dsDNA HS | S33 | 6.54 | ng/uL | 65.4 | ng/mL | 2 | 100 | 0.05-0.1 | 0.1-50.0 | 50.0-60.0 | BLUE | 1.7612 | 968.2434 |  | 126 | 2023-02-11 10:48
031123-101734 | 2023-03-11 10:18 | 1X dsDNA HS | S34 | 6.61 | ng/uL | 66.1 | ng/mL | 2 | 100 | 0.05-0.1 | 0.1-50.0 | 50.0-60.0 | BLUE | 1.8326 | 1011.2421 |  | 133 | 2023-02-11 10:48
031123-101734 | 2023-03-11 10:18 | 1X dsDNA HS | S35 | 6.6 | ng/uL | 66 | ng/mL | 2 | 100 | 0.05-0.1 | 0.1-50.0 | 50.0-60.0 | BLUE | 1.785 | 967.1488 |  | 127 | 2023-02-11 10:48
031123-101734 | 2023-03-11 10:18 | 1X dsDNA HS | S36 | 6.86 | ng/uL | 68.6 | ng/mL | 2 | 100 | 0.05-0.1 | 0.1-50.0 | 50.0-60.0 | BLUE | 1.8088 | 982.616 |  | 134 | 2023-02-11 10:48
031123-101734 | 2023-03-11 10:18 | 1X dsDNA HS | S37 | 6.9 | ng/uL | 69 | ng/mL | 2 | 100 | 0.05-0.1 | 0.1-50.0 | 50.0-60.0 | BLUE | 1.7612 | 957.9399 |  | 132 | 2023-02-11 10:48
031123-101734 | 2023-03-11 10:18 | 1X dsDNA HS | S38 | 6.9 | ng/uL | 69 | ng/mL | 2 | 100 | 0.05-0.1 | 0.1-50.0 | 50.0-60.0 | BLUE | 1.666 | 855.3571 |  | 118 | 2023-02-11 10:48
031123-101734 | 2023-03-11 10:18 | 1X dsDNA HS | S39 | 6.93 | ng/uL | 69.3 | ng/mL | 2 | 100 | 0.05-0.1 | 0.1-50.0 | 50.0-60.0 | BLUE | 1.4756 | 814.5476 |  | 112 | 2023-02-11 10:48
031123-101734 | 2023-03-11 10:18 | 1X dsDNA HS | S40 | 6.84 | ng/uL | 68.4 | ng/mL | 2 | 100 | 0.05-0.1 | 0.1-50.0 | 50.0-60.0 | BLUE | 1.4994 | 790.633 |  | 108 | 2023-02-11 10:48
031123-101734 | 2023-03-11 10:18 | 1X dsDNA HS | S41 | 6.46 | ng/uL | 64.6 | ng/mL | 2 | 100 | 0.05-0.1 | 0.1-50.0 | 50.0-60.0 | BLUE | 1.7612 | 968.2434 |  | 125 | 2023-02-11 10:48
031123-101734 | 2023-03-11 10:18 | 1X dsDNA HS | S42 | 6.55 | ng/uL | 65.5 | ng/mL | 2 | 100 | 0.05-0.1 | 0.1-50.0 | 50.0-60.0 | BLUE | 1.8326 | 1011.2421 |  | 132 | 2023-02-11 10:48
031123-101734 | 2023-03-11 10:18 | 1X dsDNA HS | S43 | 6.75 | ng/uL | 67.5 | ng/mL | 2 | 100 | 0.05-0.1 | 0.1-50.0 | 50.0-60.0 | BLUE | 1.785 | 967.1488 |  | 130 | 2023-02-11 10:48
031123-101734 | 2023-03-11 10:18 | 1X dsDNA HS | S44 | 6.98 | ng/uL | 69.8 | ng/mL | 2 | 100 | 0.05-0.1 | 0.1-50.0 | 50.0-60.0 | BLUE | 1.8088 | 982.616 |  | 137 | 2023-02-11 10:48
031123-101734 | 2023-03-11 10:18 | 1X dsDNA HS | S45 | 6.81 | ng/uL | 68.1 | ng/mL | 2 | 100 | 0.05-0.1 | 0.1-50.0 | 50.0-60.0 | BLUE | 1.7612 | 957.9399 |  | 130 | 2023-02-11 10:48
031123-101734 | 2023-03-11 10:18 | 1X dsDNA HS | S46 | 6.74 | ng/uL | 67.4 | ng/mL | 2 | 100 | 0.05-0.1 | 0.1-50.0 | 50.0-60.0 | BLUE | 1.666 | 855.3571 |  | 115 | 2023-02-11 10:48
031123-101734 | 2023-03-11 10:18 | 1X dsDNA HS | S47 | 6.92 | ng/uL | 69.2 | ng/mL | 2 | 100 | 0.05-0.1 | 0.1-50.0 | 50.0-60.0 | BLUE | 1.4756 | 814.5476 |  | 112 | 2023-02-11 10:48
031123-101734 | 2023-03-11 10:18 | 1X dsDNA HS | S48 | 6.76 | ng/uL | 67.6 | ng/mL | 2 | 100 | 0.05-0.1 | 0.1-50.0 | 50.0-60.0 | BLUE | 1.4994 | 790.633 |  | 107 | 2023-02-11 10:48

## Sheet1
Run ID | Test Date | Assay Name | Sample Name | Original Sample Conc. | Original sample conc. units | Qubit Tube Conc. | Qubit tube conc. units | Sample Volume (uL) | Dilution Factor |  | Extended Low Range | Core Range | Extended High Range | Excitation | Std 1 RFU | Std 3 RFU | Sample RFU | Last Read Standards | Reagent Lot# | Plate Barcode | Well | Sample ID | Tags
031123-101734 | 2023-03-11 10:18 | 1X dsDNA HS | S1 | 8.09 | ng/uL | 80.9 | ng/mL | 2 | 100 | 0.05-0.1 | 0.1-50.0 | 50.0-60.0 | BLUE | 1.7612 | 968.2434 |  | 156 | 2023-02-11 10:48
031123-101734 | 2023-03-11 10:18 | 1X dsDNA HS | S2 | 8.15 | ng/uL | 81.5 | ng/mL | 2 | 100 | 0.05-0.1 | 0.1-50.0 | 50.0-60.0 | BLUE | 1.8326 | 1011.2421 |  | 164 | 2023-02-11 10:48
031123-101734 | 2023-03-11 10:18 | 1X dsDNA HS | S3 | 8.1 | ng/uL | 81 | ng/mL | 2 | 100 | 0.05-0.1 | 0.1-50.0 | 50.0-60.0 | BLUE | 1.785 | 967.1488 |  | 156 | 2023-02-11 10:48
031123-101734 | 2023-03-11 10:18 | 1X dsDNA HS | S4 | 8.27 | ng/uL | 82.7 | ng/mL | 2 | 100 | 0.05-0.1 | 0.1-50.0 | 50.0-60.0 | BLUE | 1.8088 | 982.616 |  | 162 | 2023-02-11 10:48
031123-101734 | 2023-03-11 10:18 | 1X dsDNA HS | S5 | 7.85 | ng/uL | 78.5 | ng/mL | 2 | 100 | 0.05-0.1 | 0.1-50.0 | 50.0-60.0 | BLUE | 1.7612 | 957.9399 |  | 150 | 2023-02-11 10:48
031123-101734 | 2023-03-11 10:18 | 1X dsDNA HS | S6 | 7.75 | ng/uL | 77.5 | ng/mL | 2 | 100 | 0.05-0.1 | 0.1-50.0 | 50.0-60.0 | BLUE | 1.666 | 855.3571 |  | 132 | 2023-02-11 10:48