## QubitData_10-10-2023_12-34-44
Run ID | Test Date | Assay Name | Sample Name | Original Sample Conc. | Original sample conc. units | Qubit Tube Conc. | Qubit tube conc. units | Sample Volume (uL) | Dilution Factor | Extended Low Range | Core Range | Extended High Range | Excitation | Std 1 RFU | Std 2 RFU | Std 3 RFU | Sample RFU | Last Read Standards | Reagent Lot# | Plate Barcode | Well | Sample ID | Tags
101023-122753 | 2023-10-10 12:28 | dsDNA HS | S1 | 12.7 | ng/uL | 63.6 | ng/mL | 1 | 200 | 0.1-0.2 | 0.2-100 | 100-120 | BLUE | 1.4784 | 1021.3756 |  | 134 | 2023-06-10 10:28
101023-122753 | 2023-10-10 12:28 | dsDNA HS | S2 | 9.74 | ng/uL | 48.7 | ng/mL | 1 | 200 | 0.1-0.2 | 0.2-100 | 100-120 | BLUE | 1.6287 | 978.7386 |  | 98.5 | 2023-06-10 10:28
101023-122753 | 2023-10-10 12:28 | dsDNA HS | S3 | 10.2 | ng/uL | 50.8 | ng/mL | 1 | 200 | 0.1-0.2 | 0.2-100 | 100-120 | BLUE | 1.5285 | 998.4849 |  | 105 | 2023-06-10 10:28
101023-122753 | 2023-10-10 12:28 | dsDNA HS | S4 | 3.72 | ng/uL | 18.6 | ng/mL | 1 | 200 | 0.1-0.2 | 0.2-100 | 100-120 | BLUE | 1.6037 | 988.6495 |  | 38.5 | 2023-06-10 10:28
101023-122753 | 2023-10-10 12:28 | dsDNA HS | S5 | 214 | ng/uL | 1070 | ng/mL | 1 | 200 | 0.1-0.2 | 0.2-100 | 100-120 | BLUE | 1.6037 | 976.4999 |  | 1950 | 2023-06-10 10:28
101023-122753 | 2023-10-10 12:28 | dsDNA HS | S6 | 14.1 | ng/uL | 70.5 | ng/mL | 1 | 200 | 0.1-0.2 | 0.2-100 | 100-120 | BLUE | 1.4032 | 878.5229 |  | 128 | 2023-06-10 10:28
101023-122753 | 2023-10-10 12:28 | dsDNA HS | S7 | 14.5 | ng/uL | 72.6 | ng/mL | 1 | 200 | 0.1-0.2 | 0.2-100 | 100-120 | BLUE | 1.2529 | 818.655 |  | 123 | 2023-06-10 10:28
101023-122753 | 2023-10-10 12:28 | dsDNA HS | S8 | 6.34 | ng/uL | 31.7 | ng/mL | 1 | 200 | 0.1-0.2 | 0.2-100 | 100-120 | BLUE | 1.2779 | 824.3148 |  | 54.2 | 2023-06-10 10:28
101023-122753 | 2023-10-10 12:29 | dsDNA HS | S9 | 194 | ng/uL | 969 | ng/mL | 1 | 200 | 0.1-0.2 | 0.2-100 | 100-120 | BLUE | 1.4784 | 1021.3756 |  | 1880 | 2023-06-10 10:28
101023-122753 | 2023-10-10 12:32 | dsDNA HS | S10 | 136 | ng/uL | 678 | ng/mL | 1 | 200 | 0.1-0.2 | 0.2-100 | 100-120 | BLUE | 1.4784 | 1021.3756 |  | 1360 | 2023-06-10 10:28
101023-122753 | 2023-10-10 12:34 | dsDNA HS | S11 | 60 | ng/uL | 300 | ng/mL | 1 | 200 | 0.1-0.2 | 0.2-100 | 100-120 | BLUE | 1.4784 | 1021.3756 |  | 625 | 2023-06-10 10:28